## Slide 1: THz Ryegrass Hydration Measurement
14-May Report
Reporter: Jialu Xing
Supervisor: Dominik Vogt

## Slide 2
Recap: Empty pixel
Dry plants GA66-1:
Average saturated attenuation: 8.875 dB Average pixel value: 0.49133940625
Dry plants One50:
Average saturated attenuation: 6.45625 dB
Average pixel value: 0.493481125
Two GA66 plants have similar data, so saturated attenuation may be related with specious.
Dry plants GA66-2:
Average saturated attenuation: 9.1125dB Average pixel value: 0.491919609375
Empty screen:
Average saturated attenuation: 10.49375 dB
Average pixel value: 0.49057878125

## Slide 3
Recap: Empty pixel
I_0 = 10^(dB/10)*pixel_value
Set the I_0 threshold to 4.16
pixel_value < 4.16: pixel with leaf
pixel_value < 4.16: empty pixel

## Slide 4
Recap: Long scan time
Decrease attenuation
Check for saturated pixels and store the data
Scan process
If still have un-saturated pixel
About 3-4 minutes to take one scan

## Slide 5
Plant Experiment
Repeat the leaf expr but on real plants
Plant experiment setup

## Slide 6
Plant Experiment
Repeat the leaf expr but on real plants
Plant experiment setup
THz data
Gravimetric data

## Slide 7
Plant Experiment
Repeat the leaf expr but on real plants
Plant experiment setup

## Slide 8
Plant Experiment
Leaf with around 95% RWC
Weight the leaf
Take THz data scan
Leave for one day to de-hydrate
Weight the fully hydrated leaf
Fully hydrate the leaf
Weight the dry leaf
Fully de-hydrate the leaf
Repeat until plants dry up
W
TW
DW
Cut some leaf from the plant
Calculate the gravimetric RWC
Experiment process
When dry up
Calculate the THz RWC

## Slide 9
Plant Experiment
Result
The plants are not dry yet, so we can’t calculate the THz RWC now.
The gravimetric RWC result:
The gravimetric RWC shows that the plants is drying from 99% to 90%

## Slide 10
Other trails
Fixed leaves
The gravimetric and THz data don’t match on different leaves
Take THz scan for the same leaves every time
Cut other leaves to calculate the gravimetric data

## Slide 11
Other trails
Cut leaves
Leaves starts to shift when dried
Every time cut some leaves and take THz scan and gravimetric data
Wet the leaves and take THz scan and gravimetric data
Dry the leaves and take THz scan and gravimetric data

## Slide 12
Problems
No dry plants’ THz data now, can’t calculate the THz RWC
The gravimetric RWC might be un-usable as the plants dry

## Slide 13: Outlook
Complete the THz measurements on the whole plants

## Slide 14
Thank you!