## Slide 1: THz Ryegrass Hydration Measurement
16-April Report
Reporter: Jialu Xing
Supervisor: Dominik Vogt

## Slide 2: Overall Progress
API data issue still exist, but we can move on with a current approach
Current experiment

## Slide 3: Recap: Pixel Value Data Issue
The average pixel value against the source attenuation
Real figure
Expected figure

## Slide 4: Recap: Pixel Value Data Issue
We fitted the I=I_0*10^(-dB/10) to the attenuation measurement.
To see if the fitted value is identical with the former plots
curve fit plot

## Slide 5: Recap: Pixel Value Data Issue
curve fit plot
Data is invalid when pixel value exceed 0.5.
Reply from Terasense：
“The effect you observe may be the result of extreme overload.”
“The drop of the signal in the overload that you observe would in the extreme case cause the observed "signal" to drop all the way to zero.”
Pixel value exceed 0.5 indicate that the pixel is saturated.

## Slide 6: Recap: Water layer expr
modified holder

## Slide 7: Recap: Water layer expr
modified holder

## Slide 8: Recap: Water layer expr
Standard Deviation of alpha: 7.54
Average of alpha: 49.56 (no negative value)
Expected alpha: 75~85
Pixel by pixel scan result:

## Slide 9: Recap: Water layer expr
Standard Deviation of alpha: 7.54
Average of alpha: 49.56 (no negative value)
Expected alpha: 75~85
Pixel by pixel scan result:
Although the results do not match the coefficients found in the literature, the data we obtained has no negative value and exhibits a similar pattern across various measurements.

## Slide 10: Recap: Water layer expr
Standard Deviation of alpha: 7.54
Average of alpha: 49.56 (no negative value)
Expected alpha: 75~85
dH2O(0.013cm) calculated using the right alpha is very close to cuvette water layer thickness(0.020cm)
Pixel by pixel scan result:

## Slide 11: Recap: Water layer expr
Standard Deviation of alpha: 7.54
Average of alpha: 49.56 (no negative value)
Expected alpha: 75~85
Our primary focus is on the variation in water content in plants, so we decide to proceed to the next experiment.
Pixel by pixel scan result:

## Slide 12
Single Leaf Experiment
This expr aims to measure the RWC of a single leaf with THz method and compare it to the standard technique(gravimetric method).
RWC: relative water content
1. Gravimetric RWC: calculated through weight data
2. THz RWC : calculated through THz data
Ideally, The THz RWC result, and the Gravimetric THz RWC result should show a similar pattern.
We can then use THz method to measure RWC for plants.
dH2O = (log(I_ref / I_smp) +0.1*log(10) * 5.8) / 85

## Slide 13
Single Leaf Experiment
1. Check if water in leaf can be distinguished from THz img
empty THz img
leaf THz img
real leaf img
real leaf&THz img
It is quite clear that the dry part of the leaf(yellow) is red and yellow, the watered part of the leaf is green and blue.

## Slide 14
Single Leaf Experiment
2. Conduct experiment to get data
Fully hydrate the leaf
Weight the leaf
Take THz data scan
Put the leaf in the oven to evaporate some water
Pixel value & Attenuation
TW

## Slide 15
Single Leaf Experiment
2. Conduct experiment to get data
Fully hydrate the leaf
Weight the leaf
Take THz data scan
Put the leaf in the oven to evaporate some water
Weight the leaf
Take THz data scan
Put the leaf in the oven to evaporate some water
Repeat until the leaf dries up
Weight the leaf
Take THz data scan
leaf dries up
TW
W
DW
Pixel value & Attenuation

## Slide 16
Single Leaf Experiment
1. Gravimetric RWC
W – Wet weight (Wet groups leaves data)
TW –Turgid weight (First wet group leaf data, with the freshest leaf)
DW – Dry weight (Dry leaf data)
2. THz RWC
d_curr - Current water layer thickness
d_curr - Saturated water layer thickness
3. Calculate RWC
dH2O = (log(I_ref / I_smp) +0.1*log(10) * 5.8) / 85
Wet group ~ Sample group
Dry group ~ Reference group

## Slide 17
Single Leaf Experiment
4. Plot

## Slide 18
Single Leaf Experiment
4. Plot

## Slide 19
Plant Experiment
Repeat the leaf expr but on real plants
Plant experiment setup

## Slide 20
Plant Experiment
Wet plant ~ Sample group
Dry plant ~ Reference group
Drying method: Naturally dehydrate and take one THz scan daily for each plant.
Weighting method: Cut off some leaves from each plant and measure their current weight, fully wet weight and fully dry weights to calculate the gravimetric RWC.

## Slide 21
Plant Experiment
Leaf with around 80% RWC
Weight the leaf
Take THz data scan
Leave for one day to de-hydrate
Weight the fully hydrated leaf
Fully hydrate the leaf
Weight the dry leaf
Fully de-hydrate the leaf
Repeat until plants dry up
W
TW
DW
Cut some leaf from the plant
Calculate the gravimetric RWC and THz RWC
Experiment process

## Slide 22
Plant Experiment
There are 1024 pixels in total, may take 4-5h or so to do one pix-by-pix scan(find the almost saturated attenuation for every pixel).
We use a 4*4 grid group average as one, so 1024 pixels are simplified to 64 pix-groups
Scan time

## Slide 23
Plant Experiment
Pixels with no leaves
Some pixel have no leaf in front of them, this will bring noise to the data

## Slide 24
Plant Experiment
Difference between empty screen and dry plants
Average saturated attenuation: 6.45625 dB
Average pixel value: 0.493481125
Average saturated attenuation: 10.49375 dB
Average pixel value: 0.49057878125
Dry plants One50
Empty screen
The difference is significant, so we can try setting attenuation threshold to exclude empty pixel

## Slide 25
Plant Experiment
Dry plants GA66-1:
Average saturated attenuation: 8.875 dB Average pixel value: 0.49133940625
Dry plants One50:
Average saturated attenuation: 6.45625 dB
Average pixel value: 0.493481125
Two GA66 plants have similar data, so saturated attenuation may be related with specious.
Dry plants GA66-2:
Average saturated attenuation: 9.1125dB Average pixel value: 0.491919609375
Empty screen:
Average saturated attenuation: 10.49375 dB
Average pixel value: 0.49057878125

## Slide 26
Problems
To fully exclude un-wanted pixels(empty pixel)
Get data first and then use attenuation threshold to exclude outliers
or
Check how the pixels are aligned with the screen, and exclude empty pixel before collecting data with real images

## Slide 27: Outlook
Solve pixels with no leaves issue.
Collect complete plant experiment data.

## Slide 28
Thank you!